Draft Future Buildings Standard Consultation Response

Question 1): Our aim is that buildings constructed to the Future Buildings Standard will be capable of becoming carbon neutral over time as the electricity grid and heat networks decarbonise. Do you agree that the outline of the Future Buildings Standard in this chapter meets this aim?

Yes	No

Please explain your reasoning and provide supporting evidence or alternative suggestions.

The REA are supportive of the proposed Future Building Standard (FBS), recognising it provides a route to enabling buildings to become carbon neutral over time as the grid networks decarbonise. However, the REA stress that the future building standards must also enable non-grid solutions to be installed.  While electrification and gas grid decarbonisation will be crucial to meeting a high proportion of future building energy needs, non-grid solutions, such as the use of biomass heat, biofuels or Anaerobic Digestion, will also be important within specific circumstances, especially where high heat loads maybe required or other limiting factors are present. The use of the right technology for the right situation must not be restricted by the introduction of the Future Building Standard.

Equally we encourage the Future building Standard to go further and fully consider full building energy systems, enabling integration between energy efficiency, onsite energy generation, electric and thermal energy storage, futures requirements for electric vehicle charging and import of energy from decarbonised grid systems. With this in mind, and as previously proposed in response to the Home Energy Standard, the FBS should also implement six key policy proposals:

- Mandate Solar PV as minimum standard where practical to do so. Solar PV systems should also be installed in such a way as to enable them to be used in future alongside other technologies. The installation guidance should be designed to prevent poor installation that would be inhibitive to the installation of other complementary technologies, further down the line.

- Ensure all new buildings, especially with car parks, have smart electric Vehicle charge points installed.

- Energy Storage (both electric and thermal) should be considered for all new buildings or developments within energy system designs.

- All buildings should have three-phase electricity supplies in order to help facilitate electrification of both heat and transport requirements.

- Both SAP and SBEM should be reviewed to ensure renewables and other clean technologies are appropriately scored and incentivised.

- Renewable heat systems to be standard in all new developments, with the right technology being installed subject to specific energy needs of that development.

Question 2): We believe that developers will typically deploy heat pumps and heat networks to deliver the low carbon heating requirement of the Future Buildings Standard where practical. What are your views on this and in what circumstances should other low carbon technologies, such as direct electric heating or hydrogen, be used?

The Future building standards requires a multi-technology approach. As identified within the consultation, electrification will be of high strategic importance to heat decarbonise in most situations, but it will not be the only solution given the heterogeneity of dwellings, the infrastructure they rely upon (water, energy, transport, internet) and the diverse needs and behaviours of property owners and users [1].  As such, the FBS must prioritise the best technology for each situation, developing a resilient policy approach that recognises there is no ‘one size fits all solution’.

The FBS will need to enable building developers to consider a wide variety of factors including, but not limited to:

- levels of energy efficiency,

- energy usage activities within the building (including process heat),

- local infrastructure availability for that heat source (including power and gas grid and feedstock availability),

- Ability to supply a renewable power supply, either imported from the grid or via on-site generation.

- Ability to store either electrical or thermal energy

- Further electricity demands being placed on the building, including EV charging.

- the level of carbon savings provided by different solutions,

- costs

- Consumer preferences

Future Buildings Standard will need to reflect the ‘toolbox’ of solutions now available to ensure that suitable standards are in place so that, when installed, systems are fit for purpose.

key technologies expected to play a  role in heat decarbonisation, Include:

Heat pumps–The electrification of heat is expected to play a very prominent role in new builds, where new energy efficient properties are well suited to heat loads provided by air, water or ground source pumps. Air-source heat pumps for example are very well suited to residential apartments and commercial buildings in cities or towns due to their small internal and external space requirements. They may also play an important role in energy efficient off-gas grid properties. Heat Recovery Ventilation systems should also be considered as part of this, increasing efficiencies by using already generated heat to reheat fresh air coming into the house. Consideration will, however, need to be given to the increased electricity demand on some localised grid infrastructure, especially when combined with an increasing number of electric vehicles.

Biomass –a versatile alternative particularly suited to contexts where a high heat load is required and/or where levels of energy efficiency are low, typically in off-gas grid rural areas and certain on grid urban areas (e.g. district heating). There is also potential in buildings with larger residential or commercial sites, such as schools, hospitals, offices, and care homes or in new developments combined with heat networks. Utilising biomass is also particularly efficient where there are significant capacity or grid connection cost constraints. Industrial process heating will also be needed to be considered, where biomass can provide an immediate solution for decarbonising commercial heat use. Biomass is already a leader in the UK renewables space, being the largest current contributor to non-domestic renewable heat,. If the UK is to reach its 5th carbon budget and Net Zero, biomass must not be ignored within future heat standards.

On-site biogas/biomethane - Renewable heat generated from combustion of biogas or biomethane produced from anaerobic digestion or thermal gasification can also replace the fossil fuel heat required for non-domestic buildings such as farm or food manufacturing buildings, warehouse, offices and commercial dwellings, whilst delivering numerous additional environmental and agronomic benefits. There is an opportunity and a significant interest in these sorts of projects, especially in the agricultural and food manufacturing sector where it is in creating added value. They can also be widely applied as a heat source for a heat network. Again, a local approach should be utilised and this route pursued as an option where there is a workable supply or possibility to develop a project near to a proposed heat networks site.

Directly piped biomethane - ‘Private-pipe’/direct connection of biomethane projects to buildings where the gases supplied are 100% clean biomethane should also be an option. Under this scenario, it is important that an appropriate tracking methodology is adopted to ensure each unit of green gas can be tracked from its point of injection to the point of its sale to a customer or group of customers. Guarantees of Origin (GoO) provide tracking, for example through a mass balance or a book a claim methodology.

Hybrid systems - green gases or renewable heating fuels combined with heat pumps also allow for the installation of lower powered heat pumps in localities where there are constraints on the electricity network (where grid connection costs prove to be high), and switching to green gas such as biomethane from AD or thermal gasification, renewable hydrogen and bio-propane when electricity prices are high, offering a low carbon cost relief for large heat consumers.

Hydrogen -  It is recognised that hydrogen is of strategic importance for a  number of sectors in the future. We believe it has a role to play to decarbonise heating, though this should target dwellings and buildings where electrification or already established bioenergy options are not possible or cost-effective.

The REA believe hydrogen should only be supported if the production pathway is sustainable. Primarily this means green hydrogen, produced from electrolysis powered by renewables sources and biohydrogen, produced from thermal gasification of biomass or steam methane reforming of biomethane. We also recognise that Blue Hydrogen may have a role but only where carbon capture and storage is used and all carbon tracked, monitored and captured or used – as a transitionary measure in the move toward a net-zero carbon economy.

Under this scenario, it is also important that an appropriate tracking methodology is adopted to ensure each unit of green gas can be tracked from its point of injection to the point of its sale to a customer or group of customers. Guarantees of Origin (GoO) provide tracking, for example through a mass balance or a book a claim methodology.

Direct electric heating - At times a building developer may consider direct electic heating where overall heat demand is so low that cost of installation of an alternative, more expensive, renewable heat system would be prohibitive. This will particularly be in cheap to install immersion for hot water and direct elect space heating when demand is so low then the bills will not be too bad.

Biopropane - Biopropane (sold as bioLPG) is already available in the GB market and, like biomass provides an alternative where electrification isn’t possible.  Biopropane is chemically identical to conventional propane (LPG) so can be blended in any ratio with conventional LPG, allowing a smooth transition to 100% renewable product. An existing LPG boiler can use BioLPG, so disruption is minimal, making it particularly affordable. The UK’s liquid gas industry has committed to a 2040 100% renewable target.

Deep Geothermal - Deep Geothermal provides baseload dispatchable green heat perfectly suited to powering renewable heat networks, as it does in the Paris basin region which has over 40 geothermal plants feeding district heating networks across the city [2]. While the Non-Domestic Renewable Heat Incentive (ND RHI) brought geothermal projects close to successful deployment in the UK, Covid-19 related delays and the nature of theses infrastructure schemes means there is now a group of projects that have not meet the RHI March 2021 application deadlines. Future building standards relating to ensuring heat networks are powered by renewable heat installation are required.

Solar thermal - Solar Thermal provides baseload water heating which may be most suited to domestic or commercial settings with high energy efficiency levels, or low heating requirements.

Heat Batteries – these provide thermal energy storage for industrial & commercial buildings, social housing and private homes. They can be charged off the grid, and used in conjunction with technologies like solar and with existing gas boilers or green heat technologies, to prevent heat loss and enable heat to be saved, stored and reused. Depending on the type of technology, these can help to minimise peak energy usage, reduce demand charges and generate new revenue streams from DSR programmes.

Grid delivery of biomethane - Sourcing green gas from the grid (“grid delivery of biomethane”) should also be included as an option to fuel gas boilers, gas-fired combined heat and power systems – whether in homes, commercial buildings or within communal heat networks or district heat networks, when other options are not viable.  Under this scenario, it is important that an appropriate tracking methodology is adopted to ensure each unit of green gas can be tracked from its point of injection to the point of its sale to a customer or group of customers. Guarantees of Origin (GoO) provide tracking, for example through a mass balance or a book a claim methodology.

[1] Council for Science and Technology’s letter to Minister Kwarteng on ‘Addressing key net-zero challenges, September 2020.

[2]  EGEC Geothermal (2019) Geothermal Energy Use, Country Update for France, http://www.afpg.asso.fr/wp-content/uploads/2019/06/EGC-2019-Country-Update-For-France.pdf

Question 3): Do you agree that some non-domestic building types are more suitable for low carbon heating and hot water, and that some non-domestic building types are more challenging?

Yes No

If you answered no, please explain your reasoning.

As expressed in answer to question two, the REA highlight that there are many factors, beyond just total energy consumption, that could mean that some non-domestic buildings are more challenging. The FBS needs to be able to consider all these factors and enable developers to install the right technology in the right situation.

Question 4):	Do you agree with the allocation of building types to space and water heating demand types, as presented in Table 2.1 of this consultation document?

Yes	No

If you answered no, please explain your reasoning, including how different building types should be allocated.

The REA generally agree with the proposed allocation of building types, although warn that the FBS should avoid being overly prescriptive within definitions to avoid creating market signals  that drive undesirable developments as due to one building type being perceived as easier to develop in line with the standards then  another. The building types should be used to help determine the best technology for the specific development.

Question 5: We would like to introduce the Future Buildings Standard for all buildings as quickly as possible. When do you think the Future Buildings Standard should introduce low carbon space heating for buildings with Type 1 or Type 2 demand (buildings that have space heating demand more suitable for heat pumps)?

2025 – our proposed date

Another date (please specify)

Please explain your reasoning.

The REA believe 2025 is reasonable but this must be accompanied by Government policy and industry commitment to developing skills availability around energy efficient and renewable heat system design and installation, along with policies to help drive down development cost of net zero buildings. This will help to transition the building sector to the new requirements. A lack of market preparedness for the implementation of the FBS in 2025 can not be used as an excuse to later water down, or scrap, the new standards as has happened with previous governments to past proposed changes to building standards.

Government must also recognise that renewable heat industries that have already been established must also be maintained in time for the new standard to come in, in order that supply chains, skills and businesses are able to continue to grow. The end of the Non-Domestic RHI on the 31st March 2021, sees the opening up of a substantial policy gap that will see these renewable heat sectors contract just as the sector needs to be building up to meet the demands of the FBS coming into force. Meeting the 2025 date is dependent on this non-domestic heat decarbonisation policy gap being addressed as soon as possible.

Question 6):	We would like to introduce the Future Buildings Standard for all buildings as quickly as possible. When do you think the Future Buildings Standard should introduce low carbon space heating for buildings with Type 3 demand (buildings that have space heating demand less suitable for heat pumps)?

2025

Another date (please specify)

Please explain your reasoning.

The REA believe 2025 is reasonable but this must be accompanied by Government policy and industry commitment to developing skills availability around energy efficient and renewable heat system design and installation, along with policies to help drive down development cost of low carbon space heating. This will help to transition the building sector to the new requirements. A lack of market preparedness for the implementation of the FBS in 2025 can not be used as an excuse to later water down, or scrap, the new standards as has happened with previous governments to past proposed changes to building standards.

Question 7):	We would like to introduce the Future Buildings Standard for all buildings as quickly as possible. When do you think the Future Buildings Standard should introduce low carbon water heating for buildings with Type 1 or Type 3 demand (buildings that have water heating demand more suitable for point-of-use heaters or heat pumps)?

2025 – our proposed date

Another date (please specify)

Please explain your reasoning.

The REA believe 2025 is reasonable but this must be accompanied by Government policy and industry commitment to developing skills availability around energy efficient and renewable heat system design and installation, along with policies to help drive down development cost of low carbon water heating. This will help to transition the building sector to the new requirements. A lack of market preparedness for the implementation of the FBS in 2025 cannot be used as an excuse to later water down, or scrap, the new standards as has happened with previous governments to past proposed changes to building standards.

Question 8):	We would like to introduce the Future Buildings Standard for all buildings as quickly as possible. When do you think the Future Buildings Standard should introduce low carbon water heating for buildings with Type 2 demand (buildings that have water heating demand less suitable for point-of-use heaters or heat pumps)?

2025

Another date (please specify)

Please explain your reasoning.

The REA believe 2025 is reasonable but this must be accompanied by Government policy and industry commitment to developing skills availability around energy efficient and renewable heat system design and installation, along with policies to help drive down development cost of low carbon water heating. This will help to transition the building sector to the new requirements. A lack of market preparedness for the implementation of the FBS in 2025 cannot be used as an excuse to later water down, or scrap, the new standards as has happened with previous governments to past proposed changes to building standards.

Question 9):	We would welcome any further suggestions, beyond those provided in this consultation, for improving the modelling process; Part L and Part F compliance; and the actual energy performance of non-domestic buildings. Please provide related evidence.

Member feedback welcome

Question 10):	What level of uplift to the energy efficiency standards for non-domestic buildings in the Building Regulations should be introduced in 2021?

Option 1 – average 22% CO2 reduction

Option 2 – average 27% CO2 reduction (this is the Government’s preferred option)

No change

Other level of uplift (please specify)

Please explain your reasoning and provide supporting evidence or alternative suggestions where applicable.

We support a 27% uplift, which we believe to be appropriate as it will provide the most immediate uplift for energy efficiency standards. This will send a strong market signal of ratcheting up standards. Further increases should be proposed in the following consecutive years, providing a clear route to full FBS delivery in 2025.

Question 11):	Do you agree with the way that we are proposing to apply primary energy as the principal performance metric?

Yes	No

With the UK having moved towards  a  target  of  net-zero  Greenhouse  Gas  Emission  by 2050, carbon emissions should now be the principal performance metric of all buildings. This is to  allow  for  buildings  where  reducing  primary  energy consumption  may  prove expensive,  to  take  a  lower  cost  alternative  to  reducing  their  carbon  emissions  by offsetting the energy consumption through on site low carbon generation.

Primary energy does not take account of how the energy used is produced, which means that using primary energy as the principle metric instead of an opportunity to incentivise greater deployment of onsite renewables and flexibility would be lost.  This issue was previously raised in REA’s response to the Future Homes Standard consultation. Close examination of both CO2 and primary energy assessment is needed also, to identify whether either will have loopholes.

We understand that the Government states that primary energy demand is being introduced as the principle metric in order to encourage greater use of energy efficient materials in construction. However, surely there is another way to mandate these, and furthermore, the Government has put minimum fabric standards as the third, and lowest priority metric. We wonder whether the primary energy is being introduced due to a perception that CO2 emission measurements are more ‘gameable’ – however we believe that any measurement has the potential to be manipulated and can see a number of issues with primary energy. The energy demand of a building is likely to vary significantly in line with seasonal patterns, the time of day, the number of people present on a site at any one time, and the business activities being undertaken.

We also understand that visibility of transmission levels requirements in buildings may have been a factor in choosing to make primary energy the principle metric. However, if this is the case, the Government needs to explain and set out this reasoning. There are questions about how accurate, on a macro level, the figure of transmission level requirements from buildings would be if ‘worst case scenario’ were used to calculate the requirements level. We also note that there will be times in the future when there are excess levels of energy on the grid and building owners may want to be able to increase demand to take advantage of cheap power or participate in DSR services. For that future, the best thing for the grid is to use CO2 as a metric and thereby encourage the use of technologies that can facilitate flexible use of energy.

We argue that while primary energy demand data should be measured and stored in order to help understand the transmission levels requirements and system balancing needs. However, it should not be the principle metric of measuring a building’s energy performance We are also moving towards a system of auditing CO2 emissions of large corporations, so it makes little sense to move away from auditing CO2 emissions in another area of the economy.

If you answered no, please explain your reasoning.

Question 12):	Do you agree with using CO2 as the secondary performance metric?

Yes	No

If you answered no, please explain your reasoning.

As stated above, CO2 should be the principle performance metric, not the secondary metric. As we are heading to a Net Zero world and the UK is legally committed to Net Zero by 2050, it would be most consistent with our legal obligations to make carbon emissions the principle metric.  Primary energy should be the secondary performance metric, to help reduce our total energy consumption and reduce strain on the grid. Consideration should also be given to including “flexibility readiness” or “flexibility” as a performance metric, to support lowering costs and strain on the grid.

Question 13):	Do you agree with the approach to calculating CO2 and primary energy factors, referred to in paragraph 3.5.7 of this consultation document?

Yes	No

If you answered no, please explain your reasoning and provide supporting evidence or alternative suggestions.

REA does not currently intend to respond, but would welcome member input.

Question 14):	Do you agree with the proposals for natural gas being assigned as the heating fuel for any fuels with a worse CO2 emission factor than natural gas?

Yes

No

If you answered no, please explain your reasoning and provide supporting evidence or alternative suggestions.

Yes, with a particular exception for direct-electric heating which is compared to a nominal fuel-oil heat source.

Question 15):	Do you agree with our proposal of using a hybrid electric/heat pump heating system in the notional building when electricity is specified as a heating fuel?

Yes	No

Yes, but heat batteries should also be considered.

If you answered no, please explain your reasoning and provide supporting evidence or alternative suggestions.

Question 17):	Do you agree with the proposal for connecting to an existing heat network, as presented in the draft NCM modelling guide?

Yes

No, they give too much of an advantage to heat networks

No, they do not give enough of an advantage to heat networks

No, I disagree for another reason

If you answered no (b, c or d), please explain your reasoning and provide supporting evidence or alternative suggestions.

- Any proposal must recognise a wide variety of possible technologies for powering heat networks

Question 20):	We would welcome any further suggestions for revising the outputs from SBEM, which would enable easier checking by building control on building completion. Please provide related evidence.

SBEM should be reviewed to ensure low carbon systems are appropriately recognised and rewarded within in the calculation for non-domestic buildings, with the link between carbon emissions and energy use being made stronger in SBEM results.  The REA welcomes the Governments proposals to emulate the Australian NABERS scheme within their consultation on introducing a performance-based policy framework for large commercial and industrial buildings [1]

[1] Introducing a performance-based policy framework in large commercial and industrial buildings, https://www.gov.uk/government/consultations/introducing-a-performance-based-policy-framework-in-large-commercial-and-industrial-buildings

Question 27):	Do you agree with the newly proposed minimum efficiencies for natural gas, oil and LPG boiler and domestic hot water system installations in new non-domestic buildings in Section 6 of draft Approved Document L, volume 2: buildings other than dwellings?

Yes

No, the standards go too far

No, the standards do not go far enough

If you answered no (b or c), please explain your reasoning

No response planned.

Question 32):	Do you agree with the proposals to require building automation and control systems in new non-domestic buildings, when such buildings have a heating or air-conditioning system over 290kW?

Yes

No, a different trigger point should be used

No, I do not agree that building automation and control systems should be required in new buildings

No, I disagree for another reason

If you answered no (b, c or d), please explain your reasoning and provide alternative suggestions. Please also highlight any unintended consequences that may result from setting this standard.

The REA Supports proposals to require building automation and control systems in new non-domestic buildings. This will encourage the installation of well-designed and efficient energy systems linking onsite generation, storage and energy demand, both in relation to heat and power. We do, however, recognise there may be situations where this is not necessary for certain building uses and where it may not be economic or cost effective to install such systems. The FBS should make clear where such exemptions may apply.

Question 33):	Do you agree with the technical specification for new building automation and control systems as EN 15232, Class A?

Yes

No, the requirements go too far

No, the requirements do not go far enough

If you answered no (b or c), please explain your reasoning.

REA does not currently plan to answer this as members have not raised any objections. Member input would be very welcome.

Question 34):	Do you agree with the proposals for improving the commissioning guidance for new non-domestic buildings in Section 8 and 9 of draft Approved Document L, volume 2: buildings other than dwellings?

Yes

No, the standards go too far

No, the standards do not go far enough

No, I disagree for another reason

If you answered no (b, c, or d), please explain your reasoning and provide alternative suggestions.

In principle REA agrees, as this will help to ensure that onsite generation is installed appropriately. Member input sought

Question 35):	Do you agree with the proposals for requirements relating to the assessment of overall energy performance of building services installations and providing information to building owners for new non-domestic buildings given in sections 8 and 9 of Approved Document L, volume 2: buildings other than dwellings?

Yes

No

If you answered no, please explain your reasoning.

In principle REA agrees, as this will help to ensure that onsite generation is installed appropriately. It would require installers to assess and provide information to building owners regarding the energy performance of the installation and whole system. This could build on strong industry reputation among consumers.

Member input sought.

36. Do you agree with the guidance proposals for adequate sizing and controls of building services systems in new non-domestic buildings, as detailed in Sections 5 and 6 of draft Approved Document L, volume 2: buildings other than dwellings?

a) Yes

b) No, I do not agree with providing guidance on this

c) No, the guidance should be improved

On the whole, we would be supportive of appropriate sizing, provided exceptions are accommodated for. Member input sought

Question 37): Do you agree with the proposal that wet space heating systems in new   buildings   should   be   designed   to   operate   with   a   flow   temperature of 55°C or lower?

a) Yes,  through  a  minimum  standard  set in paragraph  5.9   of the Approved Document L, volume 2: buildings other than dwellings

b)  Yes, through carbon and primary energy credit in SBEM

c)  Yes, by another means

d)  No, the temperature should be below 55°C

e)  No, this standard should not be applied to all new buildings

f)   No, I disagree for another reason

Please explain your reasoning

While the REA is supportive of seeing new buildings designed to operate with a flow temperature of 55°C where heat pumps are the best option, we raise concern that the building standards do not yet fully consideration the wide range of energy uses different buildings may require. A 55°C wet system may well be very suitable for an office building but may not be appropriate in buildings such as warehouses or factory settings where higher heat loads may be required, depending on commercial activities. We are concerned that such a requirement may either drive the utilisation of heat pumps in situations where they may not be best option or may create a barrier to renewable heat technology deployment as developers are disincentivised by having to design a 55°C wet system that is not appropriate to the building needs. While the current drafting of 5.9 does suggest that there could be circumstances that this requirement would not apply, we believe this needs to be made clearer.  It is crucial that the FBS is focused on delivering the right technology for the right situation, rather than prioritising the delivery of any one technology.

Question 41):	Do you agree with the newly proposed minimum efficiencies for natural gas, oil and LPG boiler and domestic hot water system installations in existing non-domestic buildings in Section 6 of draft Approved Document L, volume 2: buildings other than dwellings?

Yes

No, the standards go too far

No, the standards do not go far enough

If you answered no (b or c), please explain your reasoning.

Fuel switching should ensure both lower CO2 emissions and lower primary energy demand.

Question 44):	Do you agree with our proposed approach and guidance to mandating self-regulating controls in existing non-domestic buildings, including technical and functional feasibility, as detailed in Sections 5 and 6 of draft Approved Document L, volume buildings other than dwellings?

Yes

No

If you answered no, please explain your reasoning.

Question 47):	Do you agree with the proposals that when Building Automation and Control System is installed in an existing non-domestic building with a heating or air-conditioning system over 290 kW, it should meet the same minimum standards as new non-domestic buildings?

Yes

No, a different trigger point should be used

No, a different standard should be used

No, for another reason

If you answered no (b, c or d), please explain your reasoning and provide alternative suggestions.

The REA Supports proposals to require building automation and control systems in existing non-domestic buildings. This will encourage the installation of well-designed and efficient energy systems linking onsite generation, storage and energy demand, both in relation to heat and power. We do, however, recognise there may be situations where this is not necessary for certain building uses and where it may not be economic or cost effective to install such systems. Requirements for a building automation and control systems, should not in themselves become a barrier to the installation of carbon saving and energy efficient systems. The FBS should make clear where such exemptions may apply.

Question 48):	Do you agree with the proposals for requirements relating to the assessment of overall energy performance of building services installations and providing information to building owners for existing non-domestic buildings?

Yes

No, I do not agree with providing this guidance

No, the guidance should be improved

If you answered no (b or c), please explain your reasoning, including any further suggestions.

REA is broadly supportive of this, which would require installers to assess and provide information to building owners regarding the energy performance of the installation and whole system. As noted above, this might help to reduce the impact of (rare) poor installations on industry reputation with consumers and to ensure the systems installed can maximise the carbon reduction benefits potential with these technologies.

Question 49):	Do you agree with the guidance proposals for adequate sizing and controls of building services systems in existing non-domestic buildings, as detailed in Sections 5 and 6 of draft Approved Document L, volume 2: buildings other than dwellings?

Yes

No, do not agree with providing this guidance

No, the guidance should be improved

If you answered no (b or c), please explain your reasoning.

This seems appropriate, given that it stipulates replacement systems should not be smaller than the old systems, barring exceptional circumstances. Further input is sought.

Question 50):	Do you agree with the proposal that when whole wet space heating systems (i.e. boiler and radiators) are replaced in existing non-domestic buildings the replacement system should be designed to operate with a flow temperature of 55°C or lower?

Yes, through a minimum standard set in paragraph 5.9 of Approved Document L, volume 2: buildings other than dwellings

Yes, through carbon and primary energy credit in SBEM

Yes, by another means

No, the temperature should be below 55°C

No, this standard should not be applied to all existing buildings

No, I disagree for another reason

Please explain your reasoning.

While the REA is supportive of seeing existing buildings designed to operate with a flow temperature of 55°C where heat pumps are the best option, we raise concern that the building standards do not fully consideration the wider range of energy uses different buildings may require. A 55°C wet system may well be very suitable for an office building but may not be appropriate in buildings such as warehouses or factory settings where higher heat loads may be required, depending on commercial activities. We are concerned that such a requirement may either drive the utilisation of heat pumps in situations where they may not be best option or may create a barrier to renewable heat technology deployment as developers are disincentivised by having to design a 55°C wet system that is not appropriate to the building needs. While the current drafting of 5.9 does suggest that there could be circumstances that this requirement would not apply, we believe this needs to be made clearer.  It is crucial that the FBS is focused on delivering the right technology for the right situation, rather than prioritising the delivery of any one technology.

Q61) Do you agree with the proposals for transitional arrangements for buildings other than dwellings?

Yes	No

If you answered no, please explain your reasoning and provide alternative suggestions.

We support the transitional arrangements proposed for introducing the standards. It would be useful for construction to have a consistent approach with the Future Homes Standard in regards to transitional arrangements.

Question 113):	Do you agree with the proposals for replacement fixed building services in existing homes, as detailed in Section 5 of draft Approved Document L, volume 1: dwellings?

Yes	No

If you answered no, please explain your reasoning.

Question 114):	Do you agree with our proposed approach to mandating self-regulating controls in existing domestic buildings, including technical and economic feasibility, as detailed in Sections 5 and 6 of draft Approved Document L, volume 1: dwellings?

Yes	No

If you answered no, please explain your reasoning.

Question 115):    Do  you  agree  with  the  proposed  specifications  for building automation  and  control  systems  installed  in  a  new  or  existing  home,  as  detailed  in  Section  6  of  draft  Approved  Document  L,  volume 1: dwellings?

Yes   No

If you answered no, please explain your reasoning

The REA Supports proposals to require building automation and control systems in existing domestic buildings.  This will encourage the installation of well-designed and efficient energy systems linking onsite generation, storage and energy demand, both in relation to heat and power. However, especially in relation to domestic buildings, this should only be a requirement where cost effective to do so. Requirements for a building automation and control systems, should not in themselves become a barrier to the retrofitting of energy efficient or renewable heating systems to see carbon reductions. The FBS should make clear where such exemptions may apply.

Question 116):	Do you agree with the proposals for extending commissioning requirements to Building Automation and Control Systems and on-site electricity generation systems, as detailed in Sections 8 and 9 of draft Approved Document L, volume 1: dwellings?

Yes	No

If you answered no, please explain your reasoning.

REA currently intends to respond in support of this. Member input sought.

Question 117):	Do you agree with the proposals for requirements relating to the assessment of overall energy performance of building services installations and providing information to homeowners, as detailed in Sections 8 and 9 of draft Approved Document L, volume dwellings?

Yes

No, I do not agree with providing this guidance

No, the guidance should be improved

If you answered no (b or c), please explain your reasoning.

Question 119):	Do you agree with the guidance proposals for adequate sizing and controls of building services systems in domestic buildings, as detailed in Sections 5 and 6 of draft Approved Document L, volume dwellings?

Yes

No, I do not agree with providing this guidance

No, the guidance should be improved

If you answered no (b or c), please explain your reasoning.

Question 120):	Do you agree with the guidance proposals on sizing a system to run at 55°C when a whole heating system is replaced, as detailed in Section 5 of draft Approved Document L, volume 1: dwellings?

Yes

No, I do not agree with providing this guidance

No, the guidance should be improved

While the REA is supportive of seeing existing buildings designed to operate with a flow temperature of 55°C where heat pumps are the best option, we raise concern that the building standards do not yet fully consider the wide range of energy uses different buildings may require. A 55°C wet system may well be very suitable for an office building but may not be appropriate in buildings such as warehouses or factory settings where higher heat loads may be required, depending on commercial activities. We are concerned that such a requirement may either drive the utilisation of heat pumps in situations where they may not be best option, or may create a barrier to renewable heat technology deployment as developers are disincentivised by having to design a 55°C wet system that is not appropriate to the building needs. While the current drafting of 5.9 does suggest that there could be circumstances that this requirement would not apply, we believe this needs to be made clearer.  It is crucial that the FBS is focused on delivering the right technology for the right situation, rather than prioritising the delivery of any one technology.