# Draft report of EV Energy Taskforce Working Group 3 on smart charging

Contents

Foreword (if needed)

- Introduction and context

- Scope of activity and deliverables

- Methodology

- Working assumptions

- Interoperability

- Cyber security and data privacy

- Grid stability

- Safety

- Proposals and plan

- Annexes

  - Use case

  - Detailed commands spreadsheet

## Introduction and context

  - The Electric Vehicle Energy Taskforce (EVET) was set up to address a range of questions related to meeting the demands of the wide scale adoption of electric vehicles on the electrical networks. After more than a year’s intensive work involving more than 350 organizations, EVET published its report, Energising Our Electric Vehicle Transition, in January 2020.

  - EVET also established four Work Packages to consider the issues of strategy, consumer engagement, smart charging technical requirements and access to data. The key objective for Work Package 3 was to ensure that Distribution System Operators (DSOs) and possible Electricity System Operators (ESOs) can send signals to market participants that will reliably result in modifications to EV charging patterns, allowing them to reduce the need for costly network reinforcement. Work Package 3 recognized that this should also consider support of load management in response to energy availability. The group focused on identifying the technical foundations to support this service.

  - There was not sufficient time or suitable governance in place to carry out a detailed technical analy sis, so the Work Package recommended that Government and industry set up the necessary governance and technical groups to agree detailed requirements. Considering this, when EVET moved to phase 2 of operations (EVET2) it established four Working Groups, each tasked with submitting a report to the EVET Steering Group, Working Group 3 was asked to consider issues pertaining to minimum requirements for smart charging and cyber security relating to the EVET proposals 2 and 5, as follows:

Proposal 2 - Government and industry must ensure system resilience by design. This includes ensuring that CPOs are aware of their responsibilities for ensuring the security of their systems. Government with industry should agree a common standards base for cyber security but not mandate a single solution, however, Government should provide support for the preferred set of standards, including device certification.

Proposal 5 - Industry should agree to extend the minimum technical requirements for smart chargers set out by OLEV to facilitate the management of electricity network capacity and energy availability (based on the details set out in the Work Package Three report). These requirements should be introduced in line with the powers set out in the Automated and Electric Vehicles Act by 2021.

  - The Working Group was further tasked to identify the requirements for the delivery of the following:

Action 2a - EVET to identify the scope and body that will be responsible for the implementation of cyber security practices that go beyond the charge point and deliver the required digital infrastructure and appropriate certification schemes (and subsequently monitor)

Action 5a - EVET to ensure all charging management methods, charging control architectures, all charge points suitable for “duration” charging events and communication are included in minimum technical requirements for smart charge points.

## Scope of activity and deliverables

  - Government launched EVET with general, wide objectives to explore with stakeholders the challenges that the electrification of road transport poses for the energy system. One part of this was as a response to the Automated and Electric Vehicles (AEV) Act 2018, and EVET’s work was intended to further the aims and deliver the provisions of that Act. The Act only has powers to set requirements for charge points, and the scope of the EVET1 technical work through its Work Package 3 conformed with that boundary. However, that Work Package found that setting the technical requirements more widely, for instance, to include the vehicle, might deliver better results for the user. One of the recommendations of this report will be to further examine how this might be developed, reflecting the position of industry agreements outside the scope of the AEV Act.

  - The Working Group was asked to:

- Develop the specific proposals into actionable plans.

- Identify the delivery mechanisms and owners for those plans.

- Present the proposed action plan and delivery mechanism to the EVET Steering Group for approval.

This would include the Working Group:

- Agreeing with Government the requirements for device interoperability, cyber security, data privacy and the ability to provide flexibility / grid stability for all relevant charging scenarios,

- Describing in broad terms what technical issues remain to be resolved in support of smart charging infrastructure that meets these Government requirements,

- Proposing a high-level plan to resolve those issues.

  - Different charging scenarios have different technical and regulatory requirements. To reflect this, the Working Group accepted the three categories of smart charging scenarios identified by EVET Work Package 3 (p8):

- Off-street residential

- Destination, such as workplace parking.

- On-Street

These are all ‘duration’ charging events, which is to say the expected length of stay exceeds the expected time required to achieve the desired charge. For this Report, the Working Group adapted the categories slightly to distinguish between charging scenarios in or out of scope of PAS 1878 and 1879 (see below), so that ‘off-street residential’ should apply to EV charging in domestic or small business settings. The PAS is most applicable to customers in Profile Class 1 – Domestic Unrestricted Customers and Profile Class 2 – Domestic Economy 7 Customers, as defined by Elexon.

These three categories of smart charging will be cross-referenced with existing and proposed expectations and requirements relating to interoperability, cyber security, data privacy, and provision of grid flexibility.

A note on the regulatory and standards landscape

  - PAS 1878 is intended to provide a specification for the minimum functionality, information flow, communications capability and cyber security requirements for the DSR-only aspects of an energy smart appliance (ESA) such as a smart EV charge point. This minimum specification is intended to give a sufficient level of interoperability, security and optionality while providing a platform for additional product and service innovation. Its scope is explicitly limited to domestic and light commercial ESAs.

  - PAS 1879 is intended to enable standardized control, subject to an explicit consumer consent, of ESAs on an electricity network by shifting (in time) and/or modulating (increasing or decreasing) the collective electricity consumption or production of domestic appliances, in line with consumer preferences and agreement, in response to signals from grid-side actors.

  - ETSI EN 303 645 is a high-level, outcomes-based standard for cyber security for consumer Internet of Things that establishes security baseline requirements for internet-connected consumer products. To achieve interoperability of cyber security, a means of meeting this standard would need to be specified. This would embed good cyber hygiene, provide a strong minimum level of cyber mitigations, and enable data privacy at the device level. Compliance with EN 303 645 is required in PAS 1878. ETSI EN 303 645 sets out thirteen cybersecurity provisions and five data protection provisions for Internet of Things devices, building on DCMS’s Code of Practice for IoT Secure by Design. These provisions include requirements on unique passwords, software and firmware updates, and the storage of sensitive data. Self-certification level assurance approaches exist for this standard.

The Government’s decision not to legislate for every requirement of PAS 1878 leaves some uncertainty over Government intentions for system and device cyber security. PAS 1878 references ETSI EN 303 645 but also includes more specific cyber security requirements. One possible development is that Government could require compliance with the full standard ETSI EN 303 645. This would reflect the increased cyber risk posed by smart charge points but will be subject to NCSC views and feedback.

  - UK General Data Protection Regulation is the general data protection regime that applies to most UK businesses and organizations. It is founded on seven key principles:

- Lawfulness, fairness and transparency

- Purpose limitation

- Data minimization

- Accuracy

- Storage limitation

- Integrity and confidentiality (security)

- Accountability

GDPR applies to Data Controllers and Data Processors (a controller determines the purposes and means of processing personal data, and a processor is responsible for processing personal data on behalf of a controller).

  - UK Secure by Design policy sets out the Government’s intention to regulate IoT products and enforce 'privacy by design', to protect consumers from insecure systems and practices such as universal default passwords, and to regulate the security of connected devices products to provide better protections for UK consumers. New UK legislation is expected to follow a new European Standard on connected product security, and other similar standards being adopted around the world. This UK legislation will be introduced to ensure that products being made available to UK consumers comply with minimum standards for cyber security. This new legislation will sit alongside existing product regulations in relation to safety and environmental impact, such as the Electrical Equipment (Safety) Regulations, Radio Equipment Regulations and Restriction of Hazardous Substances. The proposed legislation intends to protect consumers, and infrastructure from harm. However, increased safety and security is also intended to enable the Internet of Things (IoT) market to develop in the UK by reducing high profile security incidents and increasing consumer confidence in connected products.

## Methodology

  - The Working Group and project were led by Jeremy Yapp, Head of Flexible Energy Systems at BEAMA Ltd, and was sponsored on behalf of the EVET2 Steering Group by David Wong, Senior Technology and Innovation Manager in the Public Policy & Vehicle Legislation Department of the SMMT.

  - Stakeholders were invited to join the Working Group and initial meetings were chaired by Howard Porter, CEO of BEAMA. Stakeholders were drawn from selected Trade Associations, who were also invited to provide a representative from within their membership for additional technical knowledge and market experience. Officials from BSI, BEIS, OZEV, Ofgem and NCSC were also included, in particular to ensure appropriate coordination between this Working Group and the Special Advisory Group (SAG) of the BSI Energy Smart Appliance (ESA) programme sponsored by BEIS.

  - The following organizations provided Working Group members:

BEAMA

British Standards Institution (BSI)

Data Communications Company (DCC)

Department for Business, Energy & Industrial Strategy (BEIS)

Energy Networks Association (ENA)

Energy UK

EVS Energy

Green Energy Options

Landis+Gyr

National Cyber Security Centre (NCSC)

National Grid

Office of Gas and Electricity Markets (Ofgem)

Office of Zero Emissions Vehicles (formerly OLEV)

Renewable Energy Association (REA)

SmartElectri

SMS

Society of Motor Manufacturers and Traders (SMMT)

Western Power Grids

Zemo Partnership (formerly LowCVP)

## A note on working assumptions

  - The Working Group convened in October 2020 on the assumption that Energy Smart Appliances, including domestic smart EV chargers, would need to comply with PAS 1878 and PAS 1879, and that the Government would regulate on that basis. Industry no longer has certainty that the entirety of the PASs will be mandated. As such, the Working Group notes the importance of the next phase of work for BSI with regard to PAS 1878 and PAS 1879, and the need for stakeholders to work closely together to determine the best way to meet Government and consumer expectations.

  - Future outputs of EVET2 technical work should proceed on the understanding that EV charge points are one of many types of Energy Smart Appliances, and that consumers, Industry and the energy system as a whole may benefit from its recommendations being applicable beyond EV charging. The Working Group, and the EVET2 Steering Group more generally, recognize the importance of coordinating the electrification of road transport via a rollout of domestic smart charge points with the electrification of domestic heating and the proliferation of energy smart appliances and smart energy management.

  - The use of standards is normally voluntary for industry: they are used because industry believes that they offer them a benefit. In some cases, Government can choose to recommend a particular standard as a route to demonstrate compliance. However, the key to encouraging wide uptake of PASs 1878 and 1879 is to ensure industry fully understand the benefit the PASs will bring to them and their customers. There are some challenges to this happening as set out below, along with recommendations for meeting these challenges.

  - This Report reflects the agreed views and requirements, where possible, of all stakeholders. We have attempted to identify the most significant regulatory and technical gaps that will need to be addressed by Government and Industry to facilitate smart EV charging in all relevant scenarios and to provide sufficient support for flexibility markets.

  - The Working Group’s proposals will reflect the complexity of the regulatory landscape and the challenges of co-ordinating smart EV charging with the smart management of other electrical appliances.

  - The Working Group encourages all stakeholders, Industry and Government, to take due account of the need for internationally acceptable solutions.

  - It is possible that more than one technical solution can deliver smart charging. It remains unclear whether multiple technical architectures (for example, in the case of domestic charging, making different use of the smart metering system in different ways, or not at all) can coexist and still deliver the required interoperability and consumer experience. Government interoperability requirements are material to this question and should therefore be clarified before the next phase of technical work is complete.

  - The next section of the Report considers the four categories of requirements – interoperability, cyber security, data privacy and grid stability – in the context of the three charging scenarios identified above, leading to a summary of what technical issues remain to be resolved in support of smart charging infrastructure that meets these Government requirements. Though they are distinct issues, we treat cyber security and data privacy together because some outcomes could be delivered by the same standards or regulation.

The concluding section of the Report will propose a high-level plan to resolve those issues, insofar as is possible given the uncertainties.

## Interoperability

Domestic smart charging

  - Interoperability requirements for energy smart appliances, including for residential smart charge points, are set out in PAS 1878 and PAS 1879. The requirements are targeted and limited in scope, both vertically (how interoperability is achieved) and horizontally (the range of functionality subject to interoperability): they apply only to the DSR functions of the ESA.

  - Interoperability is defined in PAS 1878 as the ability of an ESA to work seamlessly across any appropriate DSR service operated by any authorized system actor. PAS 1879 adds: including allowing a consumer to switch an ESA to a different DSRSP at any time and maintain DSR functionality.

  - Government has previously consulted on requiring that a customer should have the ability to switch the operation of their charge point from one DSR service provider to another without having to replace the charge point or for a technician to visit the site. EVET1 Work Package 3 could not find consensus on this issue. In light of the strong arguments for and against this capability while the market and technology are immature, EVET1 recommended that Government defer any mandating of interoperability until 2025 to give industry the opportunity to converge on a preferred set of standards, but to begin developing suitable standards and certification regimes that would support interoperability.

  - Industry also requires clarity on the scope of functionalities that are covered by this interoperability requirement (should it be adopted). For example, PAS 1878 focuses on the DSR aspects of interoperability, but EV charging equipment may include many other interfaces than the DSR interface. Thus the interoperability requirement may apply only the minimum functionality as it relates to load control, or it may cover every minimum function of the charge point. Such a level of interoperability, that the charge point be capable of retaining smart functionality if the service provider is changed without the need for a visit to the premises, is not currently offered to most customers, so it is identified as a technical issue that remains to be resolved.

  - Limiting the scope of device-level interoperability to the DSR functions is a critical outcome, and Industry will need full clarity on what level of service should be interoperable to enable hardware to remain onsite after a change of supplier or change of occupier. The technical annex to this Report goes most of the way to defining this, but there may be other use cases that need additional consideration, and this will be the focus of the next phase of work.

  - PAS 1878 aims to set out a technical architecture for supporting interoperability between the DSR service provider (DSRSP), the Customer Energy Manager (CEM) and the ESA. Technically, the main focus is on the interface between the DSRSP and the CEM (Interface A; the CEM and ESA communicate over Interface B). This allows the DSRSP or CEM to be switched by a customer without losing DSR service. PAS 1878 continues:

In order that DSR signals can be communicated to all ESAs, open standards to support interoperable commands and languages are essential for enabling free consumer choice, and thereby a competitive market. Communications to and from the ESA to the DSRSP are necessary. The key aspect of interoperability in this PAS is to allow a consumer to switch an ESA to a different DSRSP at any time and maintain DSR functionality without the need to purchase or install any new equipment or the need for a home visit from an installer or supplier of equipment. This is supported by the definition of the minimum required common data model, information model and communication protocol, performance and security requirements for the interface between the DSRSP and CEM.”

  - In summary, the regulatory uncertainty is which aspects of the PAS 1878 and 1879 interoperability requirements will be made mandatory, and if so when or, if not, what the alternative proposals are that achieve interoperability. There would then need to be agreement on how such interoperability would be delivered and whether it requires a single smart architectural solution. An approach to testing and demonstrating should follow, with agreed enforcement procedures and protections for the consumer.

  - If the PAS requirements are not mandated, alternative interoperability requirements would need to be developed and agreed, with due to regard to the same issues of consumer expectations, technical constraints, testing and assurance schemes, and enforcement.

  - Policy options are still being considered, with Government expected to publish its response to the 2019 Smart Charging consultation by the summer and introduce legislation later this year.

Industrial and commercial destination smart charging

  - PAS 1878 and 1879 requirements for interoperability apply only to ESAs in homes and small businesses. Other scenarios of smart charging are not in scope of the PASs. Government’s policy options are still being considered, and it remains unclear whether another area of future work will be to deliver other standards or specifications to cover non-domestic charging scenarios or whether interoperability demands will be driven by consumer demand for a satisfactory charging experience, a positive business case and the efficient management of fleets rather than by regulation.

On-street public smart charging

  - Government has consulted on a different approach to the interoperability of on-street public charge points. The consultation does not refer to DSRSPs but to the consumer experience of using public EV charge points. This should allow for interoperability between every charge point and every vehicle, and for streamlined and fully interoperable roaming payments.

  - Initially it is for Government to describe what is sees in scope of regulation and what it will leave to markets to respond to consumer demands. But it is clear that consumers will want a high level of interoperability and roaming capability.

  - The next phase of work should consider whether existing methods of communication between the charge point or charge point operator and the DNO are sufficient, and whether there an interoperability challenge here. Open communication standards may play an important role in delivering acceptable levels of interoperability between public infrastructure and operators.

  - The availability of roaming facilities at public charge points could prove crucial to the consumer experience of public charging. The next phase of work should identify remaining regulatory uncertainties and technical challenges.

  - The next phase of work may also need to consider whether smart cables need to be able to attach to different charging outlets – and if so whether that is best delivered by regulation or by some other means.

## Cyber security and data privacy

  - Cyber security is essential to the success of smart charging. It is for Government to undertake a comprehensive assessment of system weakness and vulnerabilities. Policy options for cyber security are under development, but the Government’s desired cyber security outcomes are as follows:

- Protect the integrity of charge points through physical protections

- Protect operational interfaces of charge points and prevent use of non-operational interfaces

- Protect communications and messages sent from and received by charge points

- Protect firmware on charge points and enable secure updates of firmware

- Protect electric charging, metering, payment charging and other functions of charge points (where applicable)

- Protect data held by charge points

- Ensure that messages sent to charge points are sent from a certified and trusted source

Domestic smart charging

  - Government’s intentions for cyber security regulation are still being developed. One approach could be to build an understanding of device-level cyber security and protection of critical national infrastructure based on ETSI EN 303 645, keeping in mind that ETSI EN 303 645 is consumer focused and may not be entirely appropriate for critical national infrastructure (CNI); as a standard not a specification, it provides a framework rather than detailed requirements. These requirements are likely to be highly detailed, with significant implications for both device design and system architecture, and to involve a rigorous testing and assurance program. Because of this complexity, proposed security requirements should be tested and adjusted before formal consultation, with an opportunity to trial requirements in a safe manner but in environments as ‘live’ as possible.

  - Recognizing that Government’s powers for regulating standards only apply to the charge points themselves, but that cyber security needs a systems-wide approach, Industry needs to work with Government, especially DCMS, BEIS, OZEV and NCSC, to agree cyber security principles, desired outcomes and process at the levels of the device, the building and the smart system as a whole. The next phase of work should proceed by identifying practical ways to deliver baseline security of charge points and cross-checking these solutions with Government. The Working Group proposes a collaborative, iterative approach, wherein Industry explores possible smart charging architectures at the same time as Government develops its required cyber security outcomes both for devices and for systems, each process informing the other. It is important that this work proceed with full acknowledgement of the value of not diverging from international standards.

  - At present it is expected that Industry could form such a working group, with support and participation from Government. When more work has been done, it will become clearer how much testing (whether in test house conditions or live, or some combination of the two) will be required and whether additional resource is required from Government to facilitate that.

  - Protections for consumer data are delivered by existing legislation such as the General Data Protection Regulation (EU) 2016/679 (GDPR). However, two remaining areas of data privacy regulation may need to be addressed.

Firstly, GDPR imposes responsibilities on service providers and data controllers; Government will need to determine whether any provisions in the Act need to also be applied to device manufacture. Sections 5.11 and 6 of ETSI EN 303 645 may provide the basis for such measures.

Secondly, GDPR covers personal data only. Therefore, non-personal data collected in the applications of smart charging may not be in scope of GDPR. Industry should support Government efforts to legislate for the appropriate protection of all forms of data.

  - The Working Group proposes that these remaining issues be addressed under the auspices of the EVET data privacy framework proposed in the 2020 EVET report, alongside Government consultation and its usual legislative process.

Industrial and commercial destination smart charging

  - Cyber security issues will extend beyond residential charging and need to be considered in the context of commercial and industrial charging also. The Working Group noted that one solution Government is considering, the smart metering system, is not likely to be available in all industrial and commercial settings as it is mandated only for homes and small businesses. Likewise, PAS 1878 is designed to apply only to homes and small business. For this reason, Government will need to consider its desired cyber security outcomes and how to intends to mandate, test and enforce compliance. These outcomes may be the same as for domestic charging, but their practical implications may differ.

  - Users may expect the same level of data protection and Government may expect the same cyber security outcomes, regardless of the charging scenario, but policy options are still being considered, including the possibility of additional standardization, building upon or, in time, extending the scope of PAS 1878.

  - It is for Government to set out in good time and with sufficient consultation its cyber security requirements, at the level of systems and devices. The Working Group welcomes the level of engagement and consultation thus far but warns that cyber security design and implementation may constitute a significant proportion of development cost, so early clarity around expectations and requirements is essential for this nascent but maturing market.

On-street public smart charging

  - As for the other charging scenarios mentioned above, it is for Government to spell out the cyber security outcomes it requires. If its requirements extend beyond outcomes but also include how that level of security is to be delivered, early clarity on that point would also be welcome.

  - Similarly, if these expectations or requirements differ according to the charging scenario or technology, it would be helpful to know in good time. For example, on-street and public charging systems may use different data types, and specific regulations may be required to protect the personal of users of public charge points. There may also be cyber security and data privacy issues raised by roaming functionalities.

## Grid stability

  - The Working Group is aligned around the view that grid stability should primarily be delivered by the creation and maintenance of effective flexibility markets. We expect the coming year to deliver important announcement and new thinking from Government and from stakeholders across Industry and consumer groups.

  - Considering the technical considerations to support such markets, the Government’s Electric Vehicle Smart Charging consultation of July 2019 proposed the following definition for smart functionality:

“Smart functionality” means the ability of a charge point to—

(a) send and receive information and;

(b) respond to messages by adjusting the rate of electricity flowing through the charge point.

Government is still considering regulatory options, and this definition is subject to change.

  - The Working Group is aligned on the view that, just as for cyber security, grid stability should be defined and regulated for without regard for the specific technologies in use.

  - Government has also consulted whether all smart charge points must include a metering system, whereby on each occasion the charge point is used, it monitors and records in a format accessible by the consumer the electricity it has consumed and the amount of time for which the charge point is consuming electricity.

  - Vehicle manufacturers generally support the mandating of a ‘measuring device’ in smart chargers, which is already an OZEV requirement for funding under the Electric Vehicle Homecharge Scheme. However, a measuring device is not the same as a meter, and a stand-alone metering system to be connected to the grid may add complexity and cost to households, particularly those with microgeneration such photovoltaic panels, where the electricity generated has to be sold to the grid and then bought back for EV charging through a dedicated metering system for the charge point. There are, however, advantages to separate metering for the charge point, as this would enable fleet drivers to disaggregate their work-related EV bill from their domestic consumption and also, more generally, it may enable people to take advantage of the proposals to use metering equipment behind the defined boundary point, rather than the boundary point meter, for balancing services and settlement purposes. This will allow balancing-related services onsite to be separated from imbalance-related activities, more accurately reflecting the balancing-energy volumes provided by the service provider.

  - The Government’s consultation proposed that the requirements should apply to private charge points, defined in legislation to include all workplace and domestic installations. The Working Group considers that it would be inappropriate to extend smart charging requirements to rapid charge points, for reasons explained above.

  - In some circumstances charge points may also be covered by metering regulations. For example, if a service provider is offering a ‘type-of-use- tariff within which electricity used for EV charging attracts a different tariff from other electrical supply, then it the charge point’s meter is being used for billing purposes and it falls into the scope of the Measuring Instruments Regulations 2016. It will be important for Government to ensure its smart charging regulations are compatible with the MIR where required. Government guidance should identify overlaps and provide additional clarity where needed, for example with respect to the differing regulations for AC (where MIR is required) and DC (where it is not).

  - Smart charging is designed to help provide grid stability. Government and Industry should work together to assess what specific device functionalities are required to ensure that the mismanagement of smart charging, for example a lack of coordination between different load controllers, does not undermine the stability of the grid stability.

  - A randomized delay function could avoid the grid instability issues caused by multiple charge points turning on or off at the same time (for example in response to a tariff change). This could prevent sudden large changes in load, but it would not prevent too much load being on at one point in time. To avoid large simultaneous unwanted switches in load on the electricity network, the smart charge point could be required to include functionality to offer randomized offsets of up to 30 minutes. An override function would enable a consumer to override the randomized offset, but the situations in which such a function would or would not be permitted are yet to be determined. The optimum outcomes, as well as the best ways to deliver such outcomes, remain contentious. A first step would be for all stakeholders to agree the specific, quantified criteria for the triggering of the randomized delay function, and a clear definition of the event that this function seeks to avoid.

  - The low-voltage network is designed on the assumption of a ‘50% diversity factor’ (that is, not everyone charges their vehicles at the same time). However, smart tariffs and smart EV chargers may optimize towards allowing vehicles to start charging at the same time and continuing to charge concurrently. Some tariffs today only offer a four-hour window, which encourages a frequent charging habit (since the theoretical maximum charge is only 4 hours x 7kW, or 28kWh; at 300Wh/mile, this gives only roughly 90 miles of range). This may challenge some assumptions about diversity of use patterns, so energy retailers may need to look to provide different tariff regimes to avoid the peak cooking and heating times of 4-7pm while allowing a wider spread of times to avoid the local substation and cables overheating.

  - The Working Group proposes some simulation or study of the impact of low-cost tariffs, particularly to test assumptions around diverse use of low-voltage networks. Such a study could lead to some recommendations of best practise to avoid creating new ‘peak’ periods, and of how to distribute the load more uniformly across the 24 hours of the day.

  - Further work is also required to understand optimum response times for vehicles or charge points within a system of flexibility services (specifically fast-frequency response, or FFR).

  - For consistency, there was general agreement that smart charging cables should also be required to comply with the legislation.

  - Another area of uncertainty is how smart charging will be manageable directly through the vehicle. The Working Group proposes that future work consider what standards or regulation should apply not only to smart charge points and cables but also to situations in which charging is managed via the vehicle, for example through an app where the vehicle controls the rate of charge.

  - Effective management of generation and demand on the electricity system in a way that delivers acceptable grid stability outcomes depends on low-latency (near real time) control. The next phase of work should include a workstream to address the cyber security challenges posed by low latency. The workstream should include a discussion of the use of parallel paths, supervision at end points and pre-authorization as well as investigating how best to facilitate anomaly detection, public key cryptography and fast-frequency response (FFR) in the context of EV charging (including whether it is necessary or possible to deliver FFR, for aggregate loads or individual vehicles).

  - Another challenge is that infrastructure should provide the expected outcomes when operated correctly, but there may be a need for additional regulation to ensure correct operation. There should be a review of what in the operation of charging infrastructure might present a risk to stability, and what mitigations are required to manage that risk. For example, if a device is subject to more than one energy manager and receives conflicting commands, it may not follow either command. As a result, stability would be compromised and service disrupted. The mitigation here would be an agreed hierarchy of commands, but this may not be currently be required by regulation for all smart charging scenarios.

Domestic smart charging

  - PAS 1878 is concerned with the definition of an energy smart appliance. This and consideration of the level of responsiveness to load control signals are expected to be acceptable to industry, and the market will likely drive further innovation and new functionalities in this area.

  - The Working Group identified some uncertainties around the role of mandated smart metering (SMETS metering) in grid stability. A proposed avenue of future work would model the quantity and value of grid stability and grid flexibility that a SMETS meter delivers, and how the primary factors that affect those values.

  - The Working Group also identified a need for more modelling to better understand the value of different approaches to smart charging. For example, it is not well understood:

- How much grid stability depends on additional or ancillary DSR services

- The cost-effectiveness of ancillary services, specifically how much money it saves or cost the consumer

- A quantified value of how much difference smart charging makes to reinforcement decisions; for example to understand, at substation level, how many new smart EV charge points can be installed before the DNO needs to reinforce the grid against how many dumb charge points

- The best ways to avoid time-of-use (ToU) tariffs pushing people to a ‘second peak’ in which, perversely, so many consumers are incentivized by price to charge at off-peak times that new pressures on the grid are created

- The carbon value of proposed models of smart charging and grid flexibility

Industrial and commercial destination smart charging

  - Although industrial and commercial smart charging may differ in practice from domestic smart charging, it is less clear how the grid flexibility requirements will differ. It is likely that industrial and commercial vehicles will be active and inactive at different times to residential vehicles, and heavy vehicles potentially need more infrastructure and more charge. Industrial and commercial charging may also be less flexible and less responsive to price because of commercial realities.

  - Another key difference between these charging scenarios is that a large industrial or commercial site may have a separate, specific agreement with its DNO, and will therefore have an agreed strategy to keep site demand below a certain level.

  - The next phase of work therefore needs to determine whether the differences between industrial and commercial smart charging and domestic smart charging are so great that they need different regulatory or technical regimes, or whether it is better to have a single regulatory regime to provide for the grid stability aspects of all private charging, regardless of scenario.

  - The corollary of this question is to consider the distinction between private and public charging, and whether these are so different as to require different regulatory regimes to enable grid stability and flexibility.

  - There is also a more fundamental consideration, which is the extent to which flexibility markets can deliver sufficient functionalities. The answer to this question is not obvious and will likely require significant consultation and field testing at scale.

  - It is not yet known whether, at industrial and commercial level, common communications protocols are needed, and if so what they should be.

On-street public smart charging

  - Further work is required to agree the grid stability outcomes that public smart charging needs to deliver. The next phase of work also needs to describe the safeguards required, to manage the risk of unplanned incidents disrupting stability.

  - Further development of public smart charging infrastructure needs to take account of a broad view of the actions that can affect the stability of the entire national grid, for example severe frequency response risks, and those that affect only local networks.

  - Public smart charging will depend on adequate public telecommunications connectivity.

  - As for industrial and commercial charging, it is not yet known whether, at public on-street level, common communications protocols are needed, and if so what they should be.

## Safety

  - There are existing safety regulations and guidance that provide a framework which extends to covering charge point installations and products. These include but are not limited to:

- Electricity Safety, Quality and Continuity Regulations

- IET Wiring Regulations (BS 7671)

- IET Code of Practice for Electric Vehicle Charging Equipment Installations

- Electric Vehicle Conductive Charging System standard (BS EN 61851)

- Highways and Electrical Registration Scheme (for installations on a public highway)

- The Low Voltage Directive and Electrical Equipment (Safety) Regulations

- The Electromagnetic Compatibility Regulations

Compliance with these is already required for relevant charge point installations under the Government’s Electric Vehicle Homecharge Scheme (EVHS).

  - Other relevant regulations may include The Health and Safety at Work Act and Building Regulations, but a full survey of relevant safety standards, guidance and regulation is beyond the scope of this Report.

  - There are various safety considerations around EV charging that charge point companies consider, such as what warnings and instructions consumers need, what controls are in place in the event of an accident, what waterproofing is required and how current overload can be prevented. But where these considerations are not specific to the smart functionality of the charge point, they fall outside the scope of this report.

  - However, smart charging could introduce new safety considerations because it involves a high energy device being adjusted remotely when owners may not be present or when they may not be observing these adjustments. It will be for Government to determine whether this constitutes a new safety risk specific to the smart functionality of a charge point. We will expect Government to provide further clarity on the nature of any safety risks arising from the smart functionality within charge points to an extent that requires additional regulation.

  - There is further work to be done to identify smart-specific safety issues relating to the installation and operation of the charge point and to consider how these might be regulated for, adopted and delivered. One issue to consider is tamper detection and alerts, relating to unauthorized physical access to high voltage or dangerous equipment. Another is the ability to reconnect in fail-safe mode. Described as ‘Mode 4’ in PAS 1878, this could be applied in “exception conditions” such as where there is a loss of power. Government is considering whether a failsafe is required for smart charge points and, if so, what that fail-safe mode should be. For example, when power is restored after a loss of power, all charge points could be required to resume in an “off” state or could have to use the randomised delay function before restarting. This setting could be beneficial for network operators but could also cause confusion for consumers: for example, a short power cut overnight could leave a car uncharged in the morning. The Working Group has not identified the safety provisions in PAS 1878, or its requirements with regard to tamper resistance and fail-safe mode, to be deficient. If the PAS or its equivalent is mandated through legislation, it will be for the next phase of work to confirm that this provides the required level of safety. Given that Industry no longer assumes that PAS 1878 will be mandated, this issue is being considered as part of the Roadmap for PAS 1878 implementation.

## Proposals and plan

Can we say anything further about timeframes and resource considerations here?

  - This Report has discussed in broad, general terms the primary issues and uncertainties that remain to be resolved in support of an efficient, equitable and affordable rollout of smart EV charging infrastructure in the UK.

  - Fundamentally, a high-level plan to resolve these issues must acknowledge that not all Government or market requirements are known, but also that Industry efforts to develop devices, systems and services cannot wait until all those details are decided: these two efforts, to define standardized, specified and agreed standards and then to design products that meet those requirements, must be pursued concurrently, each continuing to inform the other. This iterative, collaborative process between Government, Industry and other stakeholders will identify frameworks and systems to deliver interoperability, cyber security, data privacy and grid stability outcomes that meet Government requirements and consumer expectations for each of the three charging scenarios identified in this Report.

  - The Working Group sees an important, fundamental and coordinating role for the EV Energy Taskforce in this critical next phase of work. The EVET Steering Group should continue to monitor cross-industry technical work to:

- Support cooperation between Government, Industry and the Regulator to agree specific smart charging cyber security requirements, at system and device level, and to agree mechanisms for testing and assurance

- Develop a framework or frameworks for off-street domestic and residential smart EV charging to support delivery of acceptable system and user outcomes, explicitly aligning with the ESA Roadmap for PAS 1878 implementation

- Agree requirements for the interoperability of public smart charging systems and vehicles, including payment systems

- Define and describe smart charging system functionalities that enable or support a stable, reliable, flexible and zero-carbon electricity grid.

  - The role of the EVET Steering Group and its technical working group should be strictly defined in light of the following:

- EVET does not direct the work or strictly “co-ordinate” it in the sense of apportioning responsibilities, preventing duplication/overlap or agreeing scope/ToRs of technical work

- There are no monopolies on efforts to resolve these issues, so EVET’s role should be to ensure good visibility of progress between different projects

- There will certainly be more than one technical way to meet Government requirements; EVET should support efforts to agree those requirements and converge on frameworks or architectures for meeting them, while also leaving space for innovation

- All future work should take due account of the importance of international markets and regulations

  - Specifically, Government needs to articulate in detail the outcomes it is seeking to achieve for the interoperability and cyber security of domestic smart charging systems and then support the development of one or more candidate architectures where Industry can explore how best to deliver these outcomes. The technical annex (reference) to this Report sets out some initial work undertaken by this Working Group and its technical subcommittee to describe such a candidate architecture.

  - The next phase of work should also address the potential interoperability challenges of communication between the charge point or charge point operator and the DNO, and what role open communication standards may play; regulatory and technical challenges affecting the availability of roaming facilities at public charge points; and the physical interoperability of smart cables and their attachments to different charging outlets.

  - All stakeholders must work together to agree the required interoperability outcomes, with particular regard for the consumer experience of this, in industrial, commercial and public smart charging scenarios.

  - Government should support Industry to develop mechanisms to trial cyber security requirements in a safe manner but in environments as ‘live’ as possible.

  - Further work is needed to decide how best to apply data privacy responsibilities to device manufacture, specifically whether it is desirable and possible to transpose elements of existing legislation currently applicable to service providers and data controllers.

  - Understanding grid stability requirements will be a complex, iterative and dynamic process, as markets develop and as new technologies and services emerge. The required quality and quantity of flexibility, and the forms it will take, will change in response to changes in the grid itself and in the way we use it. Markets, regulation, technology and user expectations will all need to be responsive to these changes; no single elements can deliver all the required functionalities on its own.

## Conclusion

## Annexes

- Use case

- Detailed commands spreadsheet

Electric Vehicle Energy Taskforce1 Work Package3 Report, October 2020, p7 https://www.zemo.org.uk/assets/reports/EVET_WP3-Smart-Charging-Technical-Requirements.pdf

https://www.elexon.co.uk/operations-settlement/profiling/

https://shop.bsigroup.com/ProductDetail?pid=000000000030396626

https://shop.bsigroup.com/ProductDetail?pid=000000000030396625

https://www.etsi.org/deliver/etsi_en/303600_303699/303645/02.01.01_60/en_303645v020101p.pdf

https://ico.org.uk/for-organisations/guide-to-data-protection/guide-to-the-general-data-protection-regulation-gdpr/

https://www.gov.uk/government/publications/regulating-consumer-smart-product-cyber-security-government-response/government-response-to-the-call-for-views-on-consumer-connected-product-cyber-security-legislation

https://www.gov.uk/government/consultations/the-consumer-experience-at-public-electric-vehicle-chargepoints/the-consumer-experience-at-public-chargepoints

https://www.gov.uk/government/consultations/electric-vehicle-smart-charging/public-feedback/electric-vehicle-smart-charging-consultation-summary-of-responses

EUR-Lex - 32016R0679 - EN - EUR-Lex (europa.eu)

https://www.gov.uk/government/publications/customer-guidance-electric-vehicle-homecharge-scheme/electric-vehicle-homecharge-scheme-guidance-for-customers

https://www.elexon.co.uk/mod-proposal/p375/