REA Response to Ofgem Green Gas Support Scheme draft guidance

The Association for Renewable Energy & Clean Technologies (REA) is pleased to submit this response to the above call for evidence. The REA represents industry stakeholders from across the whole heat sector and includes dedicated member forums focused on green gas, biomass heat, biomass power, renewable transport fuels and energy from waste (including advanced conversion technologies). Our members include generators, project developers, heat suppliers, investors, equipment producers and service providers. Members range in size from major multinationals to sole traders. There are over 500 corporate members of the REA, making it the largest renewable energy trade association in the UK.

- REA’s comments on the guidance document based on members’ feedback

Terminology

The guidance document would benefit from a glossary / defined terms list at the beginning. For example, this would help with the term “periodic payments” which is used repeatedly early in the document but explained at the end of the document.

  - In addition, members of the REA have pointed out that shorter, more wieldy terms are needed for:

  - a. equipment that comes under the definition of equipment used to produce biomethane; and

  - b. equipment that does not come under the definition of equipment used to produce biomethane.

This member suggested “GGSS equipment” and “non-GGSS equipment”, respectively.

Non-committal statements

Point 1.9 in the Draft GGSS Guidance, “This guidance does not anticipate every scenario that may arise…etc”. The lack of commitment implied by this statement is potentially damaging to investor confidence. We accept that there are potentially unlimited scenarios, but we encourage Ofgem to include in the guidance a range of foreseeable scenarios.

Feedstock sustainability

Ofgem’s guidance provides high level guidance on feedstocks and sustainability but the language leaves considerable room for interpretation and, given the short window for applications, it would benefit from more precise definitions.

For example, in the case of feedstock, in Appendix 2 (points 1.1, 1.2, 1.3 and 1.4) tables provide guidance on when substances should be considered products, residues or wastes for the purposes of the GGSS sustainability criteria. It states that “it is not possible to lay down definitive or absolute rules for when particular materials will be considered waste, residues or products” and that “A judgement has to be made taking into account the circumstances of each case, and applying the legislation, case law principles and other relevant indicator”.

This language would appear ambiguous to investors and would be perceived as a risk. To provide developers and investors greater certainty, particularly as feedstock availability could become an issue, Ofgem and BEIS should further define (along similar lines to RED II and DfT) the acceptable feedstock and sustainability criteria. Specifically, DfT’s recently published “List of feedstocks including wastes and residues: Year 2021” as well as the report “Renewable Transport Fuel Obligation Guidance Part Two Carbon and Sustainability 2021: 01/01/21 to 31/12/21” provides clearer guidance.

Expansions and pre-used equipment

We appreciate this a policy-related issue and one we have previously highlighted to BEIS, but expansion of existing AD plants will be the fastest way to increase the amount of biomethane injected into the gas grid, which is the purpose of the GGSS. Existing plants will usually need to overcome fewer barriers to planning, permitting, feedstock supply and access to the gas grid.

  - It is clear from the draft guidance that equipment that does not come under the definition of equipment used to produce biomethane (“Non-GGSS equipment”) may be shared with an adjacent installation that is registered on the NDRHI scheme.

  - A member suggested it would be useful if Ofgem makes it clear if this allowance also applies to other schemes such as ROCs and FiTs.

  - Many would call this situation an expansion of an existing NDRHI plant and Ofgem may have caused some confusion by stating in its written response to queries that “Plant expansions are not permitted on the GGSS”.

  - We would recommend that to avoid any confusion, the guidance should state explicitly that these situations are not excluded.

Equipment used to produce biomethane (Table 1)

  - The Network Entry Facility (NEF) or Grid Entry unit (GEU) a. The NEF/GEU often has spare capacity, which presents a good opportunity to inject additional biomethane from a new GGSS facility, without commissioning a new gas grid connection, which can be time consuming. This appears to be recognised since the measurement equipment is categorised as non-GGSS equipment but it would be useful to make it clear.

  - The NEF/GEU usually incorporates, in a single package unit, propanation, odorisation and measurement of the energy content and volume of gas entering the network. However, these components are split between the two sections of Table 1. This would cause practical difficulties and make it difficult for a single NEF/GEU to serve a GGSS plant and an adjacent non-GGSS plant. The odorising and propanation stages are not significant costs and should be removed from the GGSS-equipment category and be moved along with the measuring equipment.

A member noted that in Table 1, the first box (‘Integral equipment usually included in the definition of ‘equipment used to produce biomethane’) includes propane and odorant injection. However, Box 2 ‘Equipment not included in the definition…’ includes measurement of energy content and volume.

Both of these functions are included in the grid entry unit (as per attached drawing) and require both parts to run together as they are all linked with in the GEU software. Therefore, they should be captured in the same box.

  - Other components

  - It would not be possible for a plant consisting of only the specified “GGSS equipment” plus the specified “non-GGSS equipment” to function. A plant also needs many components that are unspecified (i.e. they don’t appear in either section of Table 1). An unintended consequence could be that new GGSS plants are built adjacent to NDRHI plants, with unnecessary duplication of the unspecified components resulting in plants that are overcomplicated and inefficient.

  - For this reason, it would be helpful if the guidance spells out some of the non-GGSS equipment. Or, the guidance should only specify the GGSS equipment and make it clear that everything else is non-GGSS equipment that can be shared with an adjacent NDRHI facility or an adjacent ROC/FiT facility, whether itemised or not.

If providing examples of non-GGSS components, please consider including;

- Suspension buffer tanks (which would need to be defined, to differentiate from digesters);

- Digestate storage tanks (which would need to be defined, to differentiate from digesters);

- Process water or centrate tanks;

- Biogas conditioning (systems for removal of crude contamination, moisture and H2S (etc), not for removal of O2 and CO2);

- Biogas storage systems;

- Gas pipework;

- Instrumentation and control;

- Civil and structural elements;

- External works (e.g. site roads, external works, drainage etc);

- Access systems; and

- Biomethane pipeline.

- Biogas handling system

Table 1 includes “Equipment required to convert raw biogas into biomethane suitable for injection”. The interpretation of “raw biogas” would affect whether the biogas handling and conditioning equipment is considered to be GGSS equipment. We understand raw biogas to be the gas at the outlet of the digestion vessels and before any treatment stages. Others could understand it to be the gas at the inlet to the upgrading equipment (equipment for CO2 and oxygen removal) and after initial treatments (biogas conditioning).

If it is acceptable for a GGSS facility and a non-GGSS facility to share a common biogas handling system, then it would be possible for biogas to cross between the two facilities. If applicable, Ofgem should indicate how this kind of situation would be managed.

Application process and plant modifications

  - Section 8 of the guidance is not explicit about plant modifications, but it implies that there will be zero tolerance for them, which would not appear to align with the scheme’s purpose and also appears to be a change of approach compared to the RHI.

  - For example, if after construction and commissioning a project can only source feedstock with a lower quality than was anticipated in the GGSS application, the project may need more infrastructure to be added to allow the accredited biomethane production volume to be realised. Ofgem should make it clear that this scenario is allowed.

  - Equally, if stronger feedstocks become available and the apportioning tool indicates that the accredited output capacity can be achieved with fewer digesters, it should be acceptable for fewer digesters to be commissioned at stage 3. Again, it would be useful to make it clear in the guidance that this should be possible.

- General policy point

- Although we appreciate this is more of a policy issue for BEIS, a member noted that, providing the gas meets the quality standard and is put through a “grid entry unit” type unit with fiscal metering to report back to Ofgem, and once it leaves the ROV then it could be compressed or liquified for other applications off site (including road fuels etc). This would negate the need to be bound by a network or close to a network and would offer the opportunity to build a plant closer to the feed stock supply.

If the only way to use the biomethane is to put it into the grid, this would limit the opportunity of potential sites as the barrier to entry could be the cost of a pipeline to a suitable network connection point. This could make the economics not stack up. However, the member noted that Ofgem could allow the same equipment as in the GEU, which provides the network and Ofgem with the flow and energy data. Instead of going to grid through a pipeline, the biomethane could either be compressed or liquified. This could then be used for other purposes and moved from site by road.