REA Response: Long Duration Energy Storage Consultation

- Do you agree with the policy objectives that have been identified? Please explain your reasoning.

Yes, the REA broadly agree with the stated policy objectives in the consultation.

We particularly highlight the importance of objectives for enabling investment and ensuring deliverability within a sensible time frame. Without meeting these objectives, the UK will fail to attract the investment required to see a range of Long Duration Energy Storage (LDES) technologies delivered or be able to do so in the time needed to meet the Government’s ambitions for Net Zero or their 2035 target for a fully decarbonised power system.

We also welcome other objectives and commend that Policy Alignment is recognised within the objectives, given the potential to overlap with a wide range of government workstreams on grid decarbonisation, not least with the outcomes of REMA, and the ongoing evolutions of the CfD and Capacity Market mechanisms.

- Are there other factors we should consider in our policy objectives?

While potentially captured in Objective of Reduced Systems Costs, there should be some consideration of value for money within the policy objectives. Appropriately supported LDES technologies will provide a range of services to the grid system beyond just the storage of energy. In addition, this could be considered against the counterfactual, of a lack of storage on the system would require increased deployment levels of renewable generation and higher costs for grid reinforcement action. Recognising this value for money within the policy objective will ensure a support mechanism that supports projects that deliver a range of services and provides the best possible use of public money.  We do note that in assessing Value for Money, some consideration will also need to be given to how the CAPEX of any technology can be expected to decrease as the sector and supply chains become more established.

- Will these policy objectives help to bring forward LDES projects to help the electricity system reach net zero in the most effective way? If so, why?

Yes, as described in question 1, the objectives recognise the need to both make LDES financeable and the importance of delivering new projects with relative speed if the UK is to mee its Net Zero objectives.

4. Do you agree with our assessment that a cap and floor is the most appropriate

policy option to enable investment and bring forward the required LDES? Please

explain your reasoning.

Yes. The REA have long supported the delivery of a dedicated Cap and Floor mechanism for delivering LDES. This follows analysis within our 2021 Long Duration Energy Storage Report, which concluded that a Cap and Floor was the most appropriate support mechanism for the technology delivery. [1]

Under the Income Floor, different revenue can be considered to determine whether returns (gross margin) are below the Floor.  Ensuring this Floor is met, therefore provides the simplest mechanism for de-risking investment, ensuring that dispatch models continue to be driven by price signals, and encouraging plant operators to maximise the value of the plant for themselves and for consumers. The mechanism can also be applied to a range of storage technologies, while not limiting their ability to benefit from any additional balancing or grid services that they are able to provide.  The Cap then provides a straightforward mechanism for controlling government spending and the amount being funded by the consumer.

In our report, we agreed with the Government’s analysis that the Capacity Market was not a suitable mechanism for delivering new investment in LDES and does not meet the stated policy objectives in the consultation. The CM is designed to ensure system adequacy at lowest cost, which is valuable, but does not appropriately reward system flexibility, stability and resilience needs. Current contract lengths within the CM would also fail to create a bankable business model for LDES.  We recognise that separate government workstreams are underway in relation to reforming the Capacity Market to make it better aligned to Net Zero targets. We are supportive of these reforms and support work to ensure a Cap and Floor and reformed CM are appropraitly aligned. It is possible that in the future there could well be value for an established LDES sector to also support the Capacity Market.

Finally, we also highlight that the choice to develop a Cap and Floor mechanism also accords with other mechanisms we are seeing developed elsewhere in the world, suggesting a shared conclusion in delivering this critical technology and precedent for success.  For example, Australia has  already delivered their Long-Term Energy Service Agreement, that offers up to 40-year contract Cap and Floor-based CfD model. Last year over 4GWh of LDES was successfully selected through the New South Wales Tender Process, demonstrating that the mechanism is attractive to investors. [2]

[1] REA (2021), ‘Longer-Duration Energy Storage: The missing piece to a Net Zero, reliable and low-cost energy future‘ https://www.r-e-a.net/resources/rea-longer-duration-energy-storage-report/

[2] Energy Storage (2023) Over 4GWh of long-duration energy storage selected through tender in New South Wales, Australia https://www.energy-storage.news/over-4gwh-of-long-duration-energy-storage-selected-through-tender-in-new-south-wales-australia/

- Do you agree with our approach to not set an overall scheme capacity?

Yes, we agree with the proposals not to set an overall scheme capacity. Given the status of the industry to date, it is likely that any government figure will be, as identified in the consultation, lower than the current potential pipeline of projects.  Seeing a low-capacity figure could send a signal to the market that Government are not ambitious enough and could undermine investor confidence in the schemes. We recognise that once the scheme is more established, and following anlysis of the how the wider power system is evolving, Government may choose to consider a capacity figure again.

6. Have we sufficiently identified wider risks and do you agree with the proposed

mitigations? Please provide your reasoning.

Overall, we agree with the identification and analysis of wider risks and proposed mitigations. We particularly agree with the analysis of the wider pipeline and its interaction with other generation and storage technologies. LDES provides options for multiple scenarios to decarbonisation, and it is important that Government are looking to deploy a range of renewable technologies in parallel, such as the Hydrogen to Power deployment, providing the best chance for the UK to meet its Net Zero targets.

7. Do you agree that only those technologies that meet the electricity storage

definition should be eligible for an LDES scheme?

No.

The consultation provides no good reason for the exclusion of Thermal Storage from the scheme, beyond it unfairly falling outside of a legislated definition, which we have previously highlighted to Government as insufficient. Thermal Storage could be particularly useful in meeting process heat demands, consequently removing electrical demand from the grid. This includes power to steam systems that could make use of excess power generation, store the energy  as heat and then dispatch it to meet demand. With workstreams in Government also looking at industrial decarbonisation and the development of heat networks, we believe the exclusion of Thermal Storage to be counter the stated policy objectives of ensuring the LDES scheme is policy aligned with other Government aims.

We note that the REA did raise the issue of the Energy Act 2023 energy storage definition at the time the bill was laid. We raised concerns that this would mean certain technologies are unnecessarily excluded from storage policy development. If Government choose to continue to exclude Thermal Storage, then they must urgently signal to the market how they plan to deliver a route to market for Thermal Storage technologies as it will be needed to decarbonise UK power and heat demand.

The REA have a full briefing on Thermal Storage that we would encourage DESNZ to read and reflect on in regard to its exclusion from support. This includes relevant case studies for where Thermal Storage could be beneficial for LDES purposes.   This can be read here: https://mcusercontent.com/57981e55e365722b7bb40867b/files/9d746eba-8b92-f2fb-b956-13dfbc7b4e54/FINAL_Thermal_energy_storage_briefing_document_.pdf

In addition, we would also direct Government to revisit the reports they previously commissioned on Thermal Storage, that identified a critical role for the technology: https://www.gov.uk/government/publications/evidence-gathering-thermal-energy-storage

8. Do you agree that it is appropriate to exclude technologies that can already be

funded under existing market arrangements and/or those that would be eligible

for multiple business model support?

Yes.

As we identified in our 2021 Long Duration Energy Storage report, the focus of support needs to be on the delivery of technologies that both represent good value for money, and which do not currently have an accessible route to market. [1]

We fully support the need for Shorter-Duration technologies, and we encourage Government to continue to consider how to ensure the extensive existing pipeline for BESS technologies can continue to be delivered.

However, the need for Long Duration Storage, is a separate problem. This is demonstrated, firstly, given the growing evidence base that highlights that the UK  will need a considerable amount of additional Longer-Duration Storage operational by 2030 and secondly because, although several technologies within this category are readily available for commercial deployment, the current market framework acts as a barrier to investment. As such, the issues being faced by Shorter-Duration and Long Duration assets are different, as is their overall role in the energy system.

[1] REA (2021), ‘Longer-Duration Energy Storage: The missing piece to a Net Zero, reliable and low-cost energy future‘ https://www.r-e-a.net/resources/rea-longer-duration-energy-storage-report/

9. Do you agree with our proposal for a minimum duration of 6 hours? If not please

provide a rationale.

We largely agree with a minimum duration of 6 hours and recognise that the market is now able to support this duration length. Previously we had called for a lesser duration of 4 hours to be supported but believe the sector has moved on sufficiently and that 6 hours is the starting point for where the additional benefits of Long Duration may be felt, and where the value for money  of delivering Long Duration can be realised.

That being said, looking at other markets, it is correct to recognise that even longer durations are now forming the threshold for support, with 8 to 10 hours being seen as a relevant benchmark for realising the value of Long Duration Energy Storage and the benefits it provides to grid. As such, to further realise value for money, it may be appropriate to consider an increased duration threshold to 8 hours, specifically for Stream 1. This may help to differentiate the asset class of LDES sufficiently to ensure the delivery of high-class projects. We would encourage Government to consider the impact of this further and perhaps consult on this  further.

10. Do you believe we should be setting a minimum efficiency criterion? Please

provide your reasoning.

No, a minimum efficiency threshold should not be set as an eligibility criterion  within the streams. This is due to the wide range of efficiency values of different technologies and concern that setting a prescriptive efficiency at the eligibility stage could unintentionally disadvantage specific technology types and could potentially exclude novel approaches.

However, we do recognise that it could be appropriate to set an operational efficiency as part of the bi-lateral negotiation for contracts. This can then be set appropriately to the project and technology.. This will then also still provide confidence to Government that awarded contracts will still represent value for money and deliver high quality projects.

11. Do you agree with the proposed approach to splitting the streams by TRL level?

Please provide your reasoning. If not, please suggest an alternative approach.

Yes, overall, we support the approach of splitting the streams, recognising an intention to ensure both novel and established technologies will have a route to market. However, we note that the consultation lacks detail in regard to what Government is really trying to achieve by doing this.

It is not clear how government spending will be split between the streams, or what exactly will be needed to demonstrate applicable TRL levels. This could lead to confusion in the market, and inconsistencies in how different technologies present themselves. In addition, it would be helpful to understand the intended process for how a technology might be assessed as graduating from stream 2 to stream 1, and whether this would apply to a specific applicant or to all projects using the same technology.

As such, it is not yet clear as to whether the two streams will really help novel technologies come to market or whether this will prioritise funding for more established approaches. Both these outcomes do not need to be mutually exclusive, if the streams are well designed, but further detail is really needed to understand how they will operate.

12. Do you agree with the different capacity minima set out for the streams? Please

provide your reasoning.

We see the capacity minima of 100 MW for established technologies as appropriate but suggest that Government should consider being more flexible with novel technologies in stream 2. This would allow smaller novel projects to plug gaps in the market, while providing a route to market for these smaller projects.  This will help ensure sizable and value for money projects, while enabling more novel approaches to become established, such as those starting small with the potential for higher capacity delivery in the future.

13. Do you agree that the identified wider system benefits should be considered

when assessing a project?

Yes, the identified benefits are appropriately considered when assessing the value of a project. Further detail will be required to understand how these factors are prioritised or weighted when assessing a project, especially if they are used to determine which applications are awarded through the administration process.

14. Would an approach similar to that of the interconnector scheme be appropriate?

If not what alternative would you suggest?

It is sensible to use a similar process to that of the interconnector scheme, given that it is established and understood. It is a process that works in an administrative allocation process. However, this would need to be re-evaluated in a competitive allocation process.

The assessment process itself will need to recognise nuances of LDES technologies and how they provide these additional services, whilst recognising they are different to that of interconnectors and will operate differently as a result.

15. Are there any wider economic and societal benefits that have not been identified

that LDES projects could provide that we should include in the criteria?

While likely addressed when considering consumer impacts, that the benefits made available to industrial or commercial decarbonisation should also be made clear, recognising that storage processes could play an important role in addressing complex to treat areas. This would be particularly pertinent if Thermal Storage was also allowed support through the scheme.

16. Do you agree with allowing recovery of debt via the floor and recovery of equity

via the cap? Please provide your reasoning.

No.

Concerns have been raised as to whether a Floor set purely on debt will be enough to make projects financeable. The Floor price needs to be set on the actual cost of debt and a minimum level of return, likely set through the administrative process, to ensure the mechanism is attractive enough to see financial close. Just covering debt may not be enough to get financial close as there will be no guarantee of a minimum return.

Government should also consider whether operational costs need to be considered in the setting of the Floor, to ensure this is recognised in the financial model.

Members have also raised concern that if the cost of debt is to be calculated exactly the same as the process for interconnectors, then the expected credit rating is likely to be ‘BBB’. This is unlikely to be high enough to inspire confidence in investment for new LDES technologies. In designing the debt-based Floor, the credit rating should be stated as higher to ensure investor confidence and address such concerns, recognising these are fundamentally different technologies to interconnectors.

We also support the use of a ‘soft’ Cap, as explored in later questions, in order to be able continue to send market signals that will encourage operators to maximise the operation of their assets and deliver the highest possible value to the grid, while still protecting consumers from high prices.

17. What costs should be eligible for inclusion in the cap and floor reconciliation

calculations?

Reconciliation should be done annually and along with capex costs, as agreed through the administration process. Operational costs and maintenance costs should also be considered.

18. How do we design the thresholds to be at the appropriate level to balance

investment certainty with potential consumer exposure to additional support

costs?

Including a minimum return within the floor Price will deliver investment certainty and reduce the cost of capital.  It will also potentially allow for a lower Cap as less risk will be seen in delivering a return up to the Cap. The space between the Floor and the Cap will be seen as valuable additional return, rather than a level that must be reached to make the project viable. As such, through cheaper capital and a potentially lower Cap, Government will help both deliver investment certainty and reduce consumer exposure.

19. Should we require projects to outline how they intend to operationalise the asset

to exceed the floor?

This should not be required, although applicants will likely have such information available. On the whole, if it can be avoided, then this would reduce concerns around the commercial sensitivity of handing such information over, even if it is never intended to be published.

On the whole a project will not be able to reach financial close unless able to demonstrate to  investors that they will be able to get above the Floor. If setting the Floor only at a debt level, then projects will certainly have to operate above the Floor. However, it should be noted that this will attract a higher risk primum to the capex and increasing costs for consumers if there isn’t a minimum return also built into the floor.

20. Do you agree using annual gross margin is a suitable approach to setting the cap

and floor thresholds? If not, what alternative would you suggest?

Yes, this seems appropriate, as is the case with interconnector agreements.

[Further member feedback welcome]

21. What performance incentive could be used to encourage full operation of assets

to prevent dispatch distortions around the cap?

As we identified in the call for evidence, we support a soft-Cap approach, which would mean that assets are still able to respond to market signals, rather than see a cliff edge return of their gross margin above the Cap. If designed well, with a clear tapering system, the assets will still maximise their operation above the Cap and prevent dispatch distortions.

22. What performance incentive could be used to encourage full operation of assets

to prevent dispatch distortions relating around the floor?

Building in a minimum return at the Floor, if it is reached, would ensure assets are operational to the Floor. Failure to reach this would mean that a project would likely not be commercially viable unless operational up to the Floor.

23. Do you agree with our proposed mitigations, or would you recommend others?

In regard to cap distortion, a performance requirement as a mitigation proposal is likely to be redundant if you have a sliding soft cap. Operators will already be incentivised to maximise their operations if they are still able to keep some returns above the cap. This will be further helped by allowing a multi-year review of gross margin revenue, as periods below the cap will be smoothed out.

In regard to floor distortions, we disagree with setting the floor only at the cost of debt with out some form of minimum return. This may make the mechanism unattractive to investors. As an alternative, we suggest setting an availability performance requirement that is specifically related to this minimum return (as opposed to the whole debt calculation) portion of the floor. Applying the performance requirement to the return would also avoid the performance requirement being seen a significant policy risk to investors, who may raise concerns if factors beyond there control means that a site is unable to operate as expected and they wouldn’t be able to get a return even on their debt.

24. Have we identified relevant operational risks associated with creating an LDES

investment scheme?

Yes, we agree with the operational and gaming risks identified. Although we suspect that after some time of the scheme being in operation, Government will be better placed to assess the real risk of gaming and whether mitigations are really required.

25. Are our proposed mitigations sufficient for mitigating against the operational

risks, like gaming? Please provide your reasoning.

We note that the banning of a vertically integrated offtake and supply agreements are unlikely to be effective, as companies will likely sleeve returns through an external company and bring it back in at a small cost. It is unlikely to dramatically reduce the impact of gaming.

There are also worries about the timeframes involved in transparency requirements. It is possible that this could create a situation where a firm which has unknowingly been operating incorrectly for several years, is then reproached by Government, or the scheme regulator, who then may seek repayment. . This could create a significant policy risk for developers, as well as being onerous on the site operator.

We also note that there is not enough information to properly assess the proposal of developing a deemed revenue index and as a result, we are unable to find a shared view across our membership on whether it is a sensible option.  While on the face of things,  this could be attractive with operators hoping to trade above the average price. Members have also raised serious concerns that a deemed approach would require an assumed operating regime to be made in advance. This would have to be done with no visibility of market signals or prices. Such an operational regime would be impossible to model and result in removing the market signals that are essential for maximising the benefits of Long Duration Energy Storage. This may be mitigated by using site specific data and actuals, but this is likely to be highly complex and may not be worth the effort.

Further detailed modelling is really required of all these options before industry can be confident in supporting their adoption. DESNZ should consider commissioning such research to help demonstrate the impact of these mitigation proposals.

26. Do you agree that the cap and floor scheme should be allocated administratively?

Yes, we support an administrative allocation process. Especially given the different types of technologies and operational realities of LDES projects.

27. Do you agree that length of a cap and floor contract should be based on the

project length?

Yes, we strongly welcome this flexibility being proposed. This will help recognise the different operating life expectancies of different LDES technologies. It is appropriate that this is agreed through the administrative allocation process.

We, however, note that this will need to consider the intended operation of the LDES technology, with more frequent cycling possibly having an impact on project life expectancy. If this is the case, additional thought may need to be given  if the contract length turns out to be set too long and, due to more frequent use, the project decommissions earlier then expected. This will be very technology dependent  and require bi-lateral negotiation.

28. Do you agree that cap and floor recipients should also be able to participate in

other electricity markets, such as the CM? Please provide reasoning.

Yes, there is no reason that further services provided by LDES should not also be rewarded. Overall, the more revenue streams that LDES can benefit from, the more derisked the Floor will be. Enabling multiple revenue streams will help the sector to establish itself quickly and ultimately prove their business model, so firms are able to move away from government support faster.

We note that involvement in the capacity market will depend on effective reforms to contract length being delivered through the current consultation on how the capacity market operates. The one year ahead contract available to interconnectors will not be sufficiently attractive to the LDES market, so evolution of the CM will be needed before we see significant LDES participation.

29. To what extent could finance be needed from UK Infrastructure Bank or

elsewhere, alongside the cap and floor scheme, to help address barriers to

investment in LDES?

UK Infrastructure Bank should be focused on addressing the infrastructure barriers to the deployment of LDES, as well as broader low carbon generation. Specifically, this must involve investment in reinforcement of our power grid to reduce capacity constraints. This will both enable new connections but also, as identified in the consultation, help maximise the benefits of LDES.

30. Do you agree that the proposed pre-qualification criteria are reasonable for both

streams? Please provide your reasoning.

We agree with most of the pre-qualification criteria but suggest that the process should have more stages. Having an intial, but more lenient, ‘check’ phase would enable projects to gain confidence and get financiers interested. A final pre-qualification process could then ensure final financial close.

Such a process would also help the Developer and DESNZ respond to changes in market realities. This includes the potential bringing-forward of grid connection dates, especially given current transmission and distribution action plans to do this. This includes proposals to prioritise storage asset connections, recognising the benefits they bring to grid capacity.  For this reason, pre-qualification should just require a connection offer, but it may not match the expected commissioning date of the project, as it can be expected to be brought forward.

31. Are there additional pre-qualification criteria that should be considered to

establish the eligibility of a project?

[member feedback welcome]

32. If you have a LDES project in the pipeline, how would these eligibility parameters

affect your project’s application?

[member feedback welcome]

33. What time length would you recommend for conducting reviews of cap/floor

threshold (e, g, annual or multi-year)?

We support multi-year reviews, suggesting that a 5 -year period is appropriate. Too frequent reviews could undermine investor confidence and introduce unnecessary uncertainty into the scheme.

34. Do you agree that exceptional event should be considered as part of the review of

cap/floor? Please provide your reasoning.

Yes, however clear rules and thresholds will need to be defined for an exceptional event, so that it is not used unfairly or unexpectantly by Government.

35. What criteria could a proving period for LDES be based on?

A proving period would not be required if a multistage qualification phase was in place. Confidence in the delivery of the project would be built through the qualification process and effectively prove a worthwhile deliverable project by the point of full qualification.

36. Do you agree that target start dates should be set? If not, please explain why.

No.

This is likely to have a detrimental impact on new innovative technologies, as they could be more susceptible to delays. This could potentially be very damaging for investor confidence in the sector if there is no flexibility and debt cannot be recovered due to development delays.

This would also need to consider how delays outside of the developer’s control would be treated in relation to a target start date. Issues like grid connection and planning delays are prevalent in the industry. While sudden changes in the market realities, as we have seen the economy in the last two years, could well impact expected CAPEX and delay supply chains. Lenience for these factors will need to be considered and built in. Otherall, we suggest a target start date is likely to be detrimental rather than drive early delivery.

37. Are there any other parameters that we should be considering in the design of the

scheme?

[member feedback welcome]

38. What are the important factors for deciding who is the appropriate body to bring

forward this scheme?

Ultimately, sector confidence in the bodies’ ability to deliver the scheme is critical, as this will be a determining factor when being assessed by investors. Previous poor delivery of government schemes will be considered an investment risk. We note that we have seen examples of this with Ofgem, especially around late payments in the RHI.

39. Would either of the delivery routes set out affect the investment case for LDES

projects?

We do not have a strong preference for delivery route, believing that both provide both advantages and disadvantages.

Option 1 is slightly preferred with the understanding that Ofgem will have a good understanding of how the electricity market works, and it mimics what already happens with the interconnector agreements, demonstrating it works for investment.

However, we note that option 2, is also likely to be investable, given it would be backed by a government, and potentially private law contracts which are  also seen as attractive.

40. Are there any additional benefits or risks to a delivery route that have not been

identified?

We note a potentially higher political risk with delivery via a CfD and funded through a supplier levy. This has clear implications for consumer bills that may create higher risks for delivery.

We also note that the existing CfD legislation is potentially now being used for a wide range of different support schemes, including the hydrogen and CCS business models. This in itself could create a risk of over diluting that base legislation model.

41. Do you believe TNUoS charges should be used if the scheme is administered by

Ofgem (option 1)? If not, please provide your reasoning and/or an alternate

method.

Yes, we would support TNUoS being used, it being an established delivery route for the interconnector contract.

42. Do you believe a supplier obligation levy should be used if the scheme is

administered using a CfD style approach (option 2)? If not, please provide your

reasoning and/or an alternate method

Yes, a supplier obligation could be used if administered via a CfD, although acknowledge this has its own political risks associated with it and may be more difficult to get parliamentary approval.